## Slide 1: sTX v.s. pTX
Single transmit (sTX) coil
Parallel transmit (pTX) coil
sTx image
pTx image
pTX pulse design algorithm
B0, B1 maping
SAR, peak B1 constraints

## Slide 2: Creating parallel-transmission-style MRI with deep learning: DeepPTx
End-to-end image mapping using neural network
  pTx hardware or software may no longer be needed
  T1/T2 imaging, diffusion, fMRI, …
sTx image
pTx image
Notes: If you remember, two months ago, at our last group meeting, we talked about this new idea, which is end-to-end img mapping using AI.
We wonder if there is a nn to map the sTX image into pTX style directly, so that pTX ha…or soft.. Is not longer needed.

## Slide 3: Preliminary results
ResNet
sTx
pTx
b=0
b=1000

## Slide 4: Preliminary results
ResNet
sTx
pTx
Color-coded FA map
SSE map
0
2